These instructions are guidance information within the body of the template. DO NOT MODIFY STYLES. - Blue text is sample and / or optional text. Select the appropriate value or remove. - Red text is instructional. Delete or replace all red text in the final version. - Black text is required and must be addressed in the template. All text must be black in the final version. Approval information is stored electronically within the SLC tool.

Header Instructions: The following information should appear on each page of the document (i.e., be included in the header of the document). Application Name and/or Acronym – Enter the system name and/or acronym as documented within the Application Inventory. Application Inventory ID – Enter the ID from the Application Inventory Document ID: Enter the document identifier for easy retrieval from the SLC tool. M-Files: Document Collection ID WindChill: Document ID Document Version: Enter the version number of this document. Document Name: Enter the name of the document. - . - The template overview and template instructions should be deleted from the final document.

Template Instructions End

Use the Paragraph (¶) button in the Toolbar to toggle on/off the red instructional text in this template.

System Risk Classification

By approving this document, you confirm that you have completed training on BTSQC09.05 and agree with the risk classification documented for this system.

| Document Prepared by: |  |  |
| --- | --- | --- |
| Name and Function | Signature | Date (DD-MON-YYYY) |
| Author | Captured electronically | Captured electronically |

| Document Approvals: |  |  |
| --- | --- | --- |
| Name and Function | Signature | Date (DD-MON-YYYY) |
| Business Process Owner(BPO) | Captured electronically | Captured electronically |
| Support Owner | Captured electronically | Captured electronically |
| SQA Lead | Captured electronically | Captured electronically |
| [insert SME title] SME (Remove this row if not required) | Captured electronically | Captured electronically |

When revising the document, add an additional row below the v1.0 line and complete the revision history information per document revision in a sequential manner.

| Revision History |  |  |  |  |
| --- | --- | --- | --- | --- |
| Document Version # | Revision Date (DD-MON-YYYY) | Written by | Change Request Number | Change Summary (Reference section[s] changed) |
| 1.0 |  |  |  | Initial writing |

# Overview

## Table of Contents

1.0	Overview

1.1	Table of Contents

2.0	System Information

2.1	System Name

2.2	System Description

2.3	Most Severe Consequence

3.0	Technical Information

3.1	System Type

3.2	Complexity

3.3	Hosting and Data Arrangement

3.4	Vendors

4.0	Quality System Regulatory Assessment

4.1	GxP (Quality) Regulatory Assessment

4.2	GxP Risk Criticality Questionnaire

5.0	Privacy Regulatory Assessment

5.1	Payment Card Industry (PCI) Regulatory Assessment

5.2	HIPAA Regulatory Assessment

5.3	Sarbanes Oxley (SOX) Regulatory Assessment

6.0	System Risk Classification

7.0	Sensitivity Classification

# System Information

## System Name

Formal System Name and Acronym/Abbreviation:

(System name should match the name used in the Application Inventory. Acronym/Abbreviation should match the short name used in the validation management system.)

## System Description

Document the system/application description. The description must include the functional purpose/intended use of the system and any other information needed to properly classify the system.  Keep this to the high-level functionality. Make special notes of any functionality relating to specific quality related functions.

From a regulatory perspective: The type(s) of data the system houses/transacts, and any other information needed to properly classify the system (e.g. any regulatory reporting, personal information collected, or credit card data. Ensure that the description of data that the system will process, as well as system scope, geography, and functionality are described in adequate detail to understand the general privacy implications. Explain all acronyms used in the description.

    - Does the system store any information about a person?

    - Is it a website? Is there an App?

    - Is there any Integrations with other systems/application?

Who is using the application? (Division/Affiliate/Customer? Etc..) (Any change to the system description requires an update to the System Risk Classification. If possible, add a visual description such as system design, flow diagram or data flow. If you add a visual description add the following caveat “The below diagram is for illustrative purposes only and is not an official reflection of the final system. The design documents will contain the final approved description of the system”)

Full Description

## Most Severe Consequence

Document the most severe consequence resulting from a failure.  This is not referring to a BIA/DR failure. For details of risk see AQ0905.A:

Select the failure:  Choose an item.

Describe the response below (be sure to include the consequences of the failure):

e.g Consequence can be data loss; a security failure, security breach, quality data function failure, regulatory functional failure, wrong release of batches; that directly or indirectly affect Patient Safety or Health. Consequences can also be to Revert to manual process, business shut down or privacy data wrongly used.

# Technical Information

## System Type

Determine and document the type of system.Choose an Item:

Application

Computerized Tool

Website

Middleware

Spreadsheet

Other: [N/A or (Other – then list here (e.g., Mobile Apps))]

## Complexity

Determine and document complexity of the application. Check all that apply:

COTS (Commercial-Off-The-Shelf)

Configurable

Custom

## Hosting and Data Arrangement

Identify the hosting arrangement for the system or components. Check all that apply:

Internal: Systems or components that are hosted on Abbott infrastructure

External: Systems or components that are hosted on a third party’s infrastructure – check all that apply

Software as a Service (SaaS)

Platform as a Service (PaaS

Infrastructure as a Service (IaaS)

Internet Facing (system has an external facing interface)

Other – then list here

Application Data

| What is the geographic location where the data for the system will be stored? |  |
| --- | --- |
| What geographical areas are using the system? (include viewing) |  |

## Vendors

A Vendor Risk Assessment is required for all purchased regulated applications or Externally Hosted regulated applications per SOP BTSQC11.01 Technology Vendor Risk Management Process. List all vendors supporting this application including purchased products.

| Vendor Name | Type of Supplier | Assessment Completed | Vendor Assessment Storage Location and Assessment ID |
| --- | --- | --- | --- |
|  | Choose an item. | Yes No | Stored with VRA Group If not, delete above and document storage location. |
|  | Choose an item. | Yes No | Stored with VRA Group If not, delete above and document storage location. |

NOTE: Most current vendor assessment is stored as indicated in the table above. Approvers should confirm the vendor has been assessed for the same risks identified in this document.

# Quality System Regulatory Assessment

The following questions are used to determine whether the intended use of the application or system requires compliance with federal and/or international GxP (Quality) regulations. A “Yes” answer to one or more of the questions in each section indicates that the application or system is used to make quality decisions or is used to meet the quality system regulations. More than one type of quality system use may be applicable.

## GxP (Quality) Regulatory Assessment

Note: If any elements of the Quality System are checked yes, the application is considered GxP.  Comments are suggested when Yes is selected.  When in doubt, open the corresponding Quality System Policy listed with the question.

| # | Answer each numbered question with a Yes or No as they apply. | Comments |
| --- | --- | --- |
|  | Does the system support Quality Management? (AQ01.A) Yes No | N/A |
| a. | Does the application or system affect regulatory submission/registration? |  |
| b. | Does the application or system perform calculations/algorithms that will support a regulatory submission/registration? |  |
| c. | Does the application or system produce, gather or report information used to support Quality System decisions (e.g., metrics, trending, etc.)? |  |
| d. | Does the system support processes to establish Quality System, management responsibilities and authority, quality planning, quality audits, management reviews and continuous improvement of the Quality System? |  |
|  | Does the system support Personnel? (AQ02.A) Yes No | N/A |
| a. | Does the application or system maintain training requirements and/or records? |  |
| b. | Does the system maintain personnel qualifications? |  |
| c. | Does the system control access to quality systems? (i.e., ESAM) |  |
|  | Does the system support Nonconformance (AQ03A.A) and Corrective Action & Preventive Action (CAPA)? (AQ03.A) Yes No | N/A |
| a. | Does the application or system maintain records of product conformance or nonconformance to acceptance criteria throughout its distribution and lifecycle? |  |
| b. | Does the application or system maintain records for the analysis, investigation, verification, and implementation of corrective or preventative actions? |  |
|  | Does the system support Complaints & Product Actions? (AQ04.A) Yes No | N/A |
| a. | Is the application or system used for collecting, monitoring, signaling, assessing and evaluating adverse effects information from healthcare providers and patients (i.e., pharmacovigilance)? |  |
| b. | Does the application or system maintain records and/or approvals addressing the identification, evaluation, segregation or disposition of nonconforming products? |  |
| c. | Can the application or system be used for product/sample recall, reconciliation, product history, or product-related customer complaints? |  |
| d. | Does the application or system maintain records of the initiation, review, evaluation or investigation of complaints? |  |
|  | Does the system support Documentation & Change Control? (AQ05.A) Yes No | N/A |
| a. | Does the application or system control review approval and/or distribution of quality system documents? |  |
| b. | Does the application or system maintain records of changes to quality system documents? |  |
| c. | Does the application or system store quality system documents for archival? |  |
|  | Does the system support Buildings, Facilities and Utilities? (AQ06.A) Yes No | N/A |
| a. | Where environmental conditions can have an adverse effect on product quality, does the application or system, control these environmental conditions? |  |
| b | Where access is controlled by unauthorized individuals to buildings, facilities or utilities, can this potentially impact product quality?. |  |
|  | Does the system support Equipment? (AQ07.A) Yes No | N/A |
| a. | Does the application or system maintain records for the calibration of equipment or for the standards used in calibration of equipment used in production? |  |
| b. | Does the application or system maintain records of maintenance, cleaning or inspection of equipment used in production? |  |
| c. | Where contamination of product or equipment can have an adverse effect on product quality, does the application or system automate an aspect of the contamination control process? |  |
|  | Does the system support Product Design and Development? (AQ08.A) Yes No | N/A |
| a. | Does the application or system control, record for use, or monitor safety data? |  |
| b. | Does the application or system automate any part of the engineering design process (e.g. Computer Aided Design)? Note: If the tool is installed and verified to manufacturer’s instructions and the output of the tool is verified or validated, then specify the method for verification or validation of the output with justification in the Compliance Assessment. Tools that meet these criteria are exempt from following AQ0905.A. |  |
| c. | Does the application or system determine specifications for a product during the Development Phase? |  |
| d. | Does the application or system perform verification or validation of a product's design? |  |
| e. | Does the application or system maintain records for the identification, review and approval of changes to a product’s design? |  |
| f. | Does the application or system maintain records for a product's Design History File? |  |
|  | Does the system support Validation? (AQ09.A) Yes No | N/A |
| a. | Does the application or system automate any part of the Non-Product Software Life Cycle that is not verified (e.g. testing)? |  |
|  | Does the system support Clinical Research? (AQ10.A) Yes No | N/A |
| a. | Does the application or system directly control, record for use, or monitor clinical data? |  |
|  | Does the system support Purchasing Controls? (AQ11.A) Yes No | N/A |
| a. | Is the application or system, the system of record for approved supplier, contractor, or consultant information? |  |
|  | Does the system support Material Controls? (AQ12.A) Yes No | N/A |
| a. | Does the application or system define materials to be used? (i.e., raw materials, packaging components, formulations, etc.) |  |
| b. | Does the application or system automate procedures to ensure that products are stored in appropriate conditions for appropriate periods of time? |  |
|  | Does the system support Production & Process Controls? (AQ13.A) Yes No | N/A |
| a. | Does the application or system control record for use, or monitor product quality? |  |
| b. | Does the application or system control and/or monitor acceptance testing during receiving or in-process testing of materials or components to be used in products? |  |
| c. | Will data from the application or system be used to support QC product release? |  |
| d. | Does the application or system identify or trace (link) units, lots, batches or components for finished devices? |  |
| e. | Does the application or system handle data which could impact product purity, strength, efficacy, identity, status, or location? |  |
| f. | Does the application or system monitor or control process parameters or component and device characteristics during production? |  |
| g. | Does the application or system maintain the Device Master Records or the Device History Records for products? |  |
| h | Does the application or system provide statistical rationale for the establishment of sampling plans? |  |
| i. | Does the application or system establish the use of statistical techniques for verifying the acceptability of process capability and product characteristics? |  |
|  | Does the system support Packaging and Labeling (AQ14.A) or Promotional Material Controls? (AQ14A.A) Yes No | N/A |
| a. | Does the application or system automate the label and/or Instructions for Use (IFU) and/or product insert (PI) printing, inspection or accountability in any part of the manufacturing/distribution process including in process, finished product, and distribution control labeling? |  |
| b. | Does the application or system support coding of materials, formulated products or package components (i.e., labels and label identification manufacturing lot number, serial number, expiration date, UDI, etc.)? |  |
| c. | Does the system, website site, mobile application or externally facing application contain labels, labeling, Instructions for Use, product insert information, updates or supplements to IFU and/or PI, promotional materials, product ingredient and/or disease treatment information? |  |
|  | Does the system support Laboratory Controls? (AQ15.A) Yes No | N/A |
| a. | Is the application or system used to support product stability studies? |  |
|  | Does the system support Distribution, Installation and Servicing Controls? (AQ16.A) Yes No | N/A |
| a. | Does the application or system maintain records of installations for products that require installation? |  |
| b. | Does the application or system maintain records or control content of shipping addresses for product distribution? |  |
| c. | Does the application or system maintain records of distribution, such as who is to receive product, how much, when, and what lot/batch/etc.? |  |
| d. | Does the application or system automate procedures to ensure that only product that has been approved for release is distributed within their specified expiration times? |  |
| e. | Does the application or system maintain service records for review and analysis? |  |
|  | Does the system support Good Laboratory Practice (GLP)? (AQ17.A) Yes No | N/A |
| a. | Does the application or system control, record for use, or monitor laboratory testing? |  |
|  | Other (GxP Regulation; Part 11, Annex 11 etc.) Yes No | N/A |
| a. | Is the application or system the official, auditable, archive or record of any regulated activity supporting GxP regulations? |  |
| b. | Does the application or system employ electronic signature capabilities and/or provide the sole record of the signature on a document subject to review by a regulatory agency supporting GxP regulations? |  |

Is the system regulated for GxP (Quality)? Choose an item.

If “Yes” is the response to any of the Quality System Elements, the system is GxP Applicable, then continue to complete section 4.2	GxP Risk Criticality Questionnaire.

If “No” is the response to all questions, skip ahead to 5.0 Privacy.

## GxP Risk Criticality Questionnaire

(Only applicable if there is a Yes from 4.1 above)

Answer all questions with Yes or No and explain the answer, as necessary to determine the criticality (Critical, Non-Critical, Non-Quality).

| # | Questions | Yes/No | Comment, Explanation, and or Reference |
| --- | --- | --- | --- |
|  | Does the system have a DIRECT impact on patient, personnel, public and/or product safety, product quality, efficacy, and/or performance? | Yes No | N/A |
|  | Does the system have quality data that is analyzed, retrieved, manipulated, stored, reported and/or maintained that DIRECTLY affect patient, personnel, public and/or product safety, product quality, efficacy, and/or performance? Consideration must be given to missing, incorrect or changed data where it may result in inappropriate decision or action. | Yes No | N/A |
|  | Does the system have an INDIRECT impact on patient, personnel, public and/or product safety, product quality, efficacy and/or performance? | Yes No | N/A |
|  | Does the system have quality data that is analyzed, retrieved, manipulated, stored, reported and/or maintained that INDIRECTLY affect patient, personnel, public and/or product safety, product quality, efficacy, and/or performance? Consideration must be given to missing, incorrect or changed data where it may result in inappropriate decision or action? | Yes No | N/A |
|  | Does the system have: - Functionality that provides for compliance with governmental regulations not classified as “critical” above, and/or - Records stored in this system required to meet regulatory requirements? | Yes No | N/A |

Based on the responses to the questions in the previous section, determine the GxP Risk Classification:

| GxP (Quality) Risk Classification | Responses to 5 Risk Classification Questions (above) |
| --- | --- |
| Critical (High) | If “Yes” is the response to questions 1, 2 . |
| Non-Critical (Medium) | If “No” is the response to questions 1, 2 and “Yes” is the response to questions 3, 4 or 5. |
| Non-Quality (N/A) | If “No” is the response to questions 1, 2, 3, 4, or 5 |

What is the GxP Risk Classification? Choose an item.

# Privacy Regulatory Assessment

This section assesses General Data Protection.

Sensitivity Levels are documented within I1-05 Information Classification Policy and include:

- Does Not Apply (No Personal Information)

- Privacy Public

- Privacy Internal Use Only

- Privacy Restricted (Confidential)

- Privacy Highly Restricted (Secret)

Note: Any data within a system classified as Privacy Restricted or Privacy Highly Restricted will define the system as Regulated for Privacy with the Risk Level of “Critical”. Systems classified as Privacy Internal Use Only, Privacy Public or Does Not Apply (No Personal Information), are to be marked as Non-Regulated for Privacy in section 6.0.

Determine if the system will collect, process, or retain any information about a person.

|  | Questions | Comment, Explanation, and or Reference |
| --- | --- | --- |
| - 1. | Does the system contain any information about a person? If Yes continue with question 2. | Choose an item. |
| 2. | 2a. Describe/List the most sensitive data. (For example: patient health data, customer contact information, employee performance data, etc.). |  |
| - 3. | 2b. Identify the system Privacy Data Sensitivity level | Choose an item. |
| If 2b is Restricted or Highly Restricted, complete 3 and 4; otherwise continue to section 5.1. |  |  |
|  | What is the intended geographic scope of the personal information? (Where do the data subjects reside? For example, European Union, United States, Brazil, China, Russia, Global, etc.) |  |
|  | GDPR (General Data Protection Regulation) applicability: Does the system collect, process, transmit or store Restricted or Highly Restricted personal information of European Union residents? | Choose an item. |

## Payment Card Industry (PCI) Regulatory Assessment

The Risk Level associated with PCI is “Critical”. If the system is involved in storing or transferring the payment card user-session to a 3rd party during checkout - the system affects the overall security of the transaction and is in scope for PCI. See CFM 0075 Payment Card Industry (PCI) or 4-035 IT Payment Card Industry Compliance (PCI) for more information. Any system Regulated for PCI is regulated for Privacy.

Does the system facilitate, store or process payment card information? (Yes / No) Choose an item.

## HIPAA Regulatory Assessment

Health Insurance Portability and Accountability Act (HIPAA).  The Risk Level associated with HIPAA is “Critical”.  Any system Regulated for HIPAA is regulated for Privacy.  Consult with your division privacy officer.

Is the system regulated under HIPAA? (Yes / No) Choose an item.

## Sarbanes Oxley (SOX) Regulatory Assessment

Systems with material impact on external financial reporting systems and within scope of Sarbanes-Oxley Act. The Risk Level associated with SOX is “Critical”.  Consult with the Sox program Manager, Within the Cybersecurity Team for more information if needed.

Is the system regulated for SOX? (Yes / No) Choose an item.

# System Risk Classification

Based on the regulatory evaluations performed within sections 4 – 5 and any other applicable regulation identified below, select the classification levels which apply for the system.  Check all that apply:

| Regulation | Classification Level |
| --- | --- |
| Regulated |  |
| GxP (Quality) | Choose an item. |
| Privacy | Choose an item. |
| GDPR (European Union Privacy) | Choose an item. |
| PCI | Choose an item. |
| HIPAA | Choose an item. |
| Sarbanes-Oxley (SOX) | Choose an item. |
| Other regulation(s): | Choose an item. |
| Non-Regulated |  |

System Risk Classification (Critical / Non-Critical / Non-Regulated)

| Identify the highest risk classification for all regulations applicable to the system: | Choose an item. |
| --- | --- |

# Sensitivity Classification

Business Sensitivity Classification

Systems that contain Structured Data must identify the Business Sensitivity Classification of the data processed by the system so that appropriate security controls can be applied. The Business Sensitivity Classification must match the classification in the Data Lifecycle Management (DLM) assessment.

Refer to Policy I1-05, Information Classification Policy for additional information.

| Select the highest Business Sensitivity Classification for the data processed by this system: | Choose an item. |
| --- | --- |

Data Sensitivity Classification

| Select the highest assigned data classification level between Privacy Data Sensitivity (section 5.0, 2b) and Business Sensitivity Classification (section 7.0). | Choose an item. |
| --- | --- |

Systems with sensitivity classification as Restricted or Highly Restricted are required to complete a Data Protection Plan.

END OF DOCUMENT